- Use the USB-C wire to connect to the pc and inverter ，power on inverter using grid or pv

- Setup the tool software,open it

- choose the correct COM port

- choose file    *.out:

- start the button “upgrade”

- Update both Firmwares on the inverter.